## Slide 1: Virus Spread prevention using UV light
Luka Zaalishvili
Mechanical Engineering Student at Agricultural University of Georgia 4th Year

## Slide 2: Introduction
For the past 2.5 years we’ve been amidst a Global Pandemic
Covid-19 is still active and isn’t going anywhere
The only protection we have is vaccines, face masks and social distancing
We are still susceptible to new, potentially even more harmful pandemics
We need to implement new virus spread prevention methods.

## Slide 3: 01 Design The Execution The Idea 02 03

## Slide 4: The Idea 01
UV light in Ventilation systems

## Slide 5: Ultraviolet light

## Slide 6: UV-C light kills COVID-19
Pros:
With high intensity(500 μW/cm²) it can kill the Virus in less than 10 seconds.
It works on surfaces, in liquids and in air.
Safer than chemical disinfection
Cons:
Is harmful for humans.
UV-C lamps contain mercury which is also toxic for humans.

## Slide 7: Design 02
Miniature model of a room with HVAC System

## Slide 8: Basic work principle of Air Conditioning

## Slide 9: Thermo Electric cooling based on the Peltier Effect

## Slide 10: CAD model designed by me in Autodesk Inventor

## Slide 11: The design process

## Slide 12: The design process

## Slide 13: Execution 03

## Slide 14: 220v AC to 12v DC conversion

## Slide 15: Step 1: Diode bridge

## Slide 16: Step 2: Capacitor

## Slide 17: Step 3: Voltage Regulator

## Slide 18: Calculations:
How much air heats up in the UV chamber
Starting Temperature of air t1=27 °C
UV light intensity = 500 μW/cm²
Heat capacity of air at 27 °C cair=718 J/kg*K
Density of air at 27 °C ρ=1.18 kg/m^3
Using this formula Q=c*m*Δt
Δt=1,5 °C

## Slide 19: 2. How much it cools down in Peltier Chamber: Calculations:
Convection and Conduction heat transfer:
Peltier module cold side at 12v t = -17 °C
q = U A Δt
where
q = heat transfer W
U = overall heat transfer coefficient W/(m2K)
A = wall area m2
Δt = t1 - t2
Finding the overall heat transfer coefficient of this heat sink:
1 / U A = 1 / hc Ai + Σ (sn / kn An) + 1 / hc Ao
U = the overall heat transfer coefficient W/(m2 K)
kn = thermal conductivity of material W/(m K)
hc = convection heat transfer coefficient W/(m2 K)
sn = thickness of layer

## Slide 20: Calculations done by code written in Matlab Output Parameters
Q=q*T
Where T=time=300s
Using this formula Q=c*m*Δt
Room Temperature after 5 minutes t2=18 °C

## Slide 21: Tasks done: Conclusion
Design created
Prototype built
Calculations made
Tasks in development:
Kill switch for emergencies
Temperature regulation

## Slide 22: THANKS!
Do you have any questions?