## Slide 1
Power Supply Development for JEDI Polarimeter Modules
23.08.2018
Otari Javakhishvili
(AUG / SMART|EDM_Lab TSU )

## Slide 2
23/08/2018
Otari Javakhishvili
2
LYSO Cristal 3X3X8 cm
SiPM (SensL J-series, 20µm pixel) Module and connector
Aluminum holder and wave springs for tension
Detector module structure

## Slide 3
23/08/2018
Otari Javakhishvili
3
SiPM Lab Test
Dark box
Signal Generator
(Fixed Signal)
SiPM
Power Supply
25v ~ 32v
Oscilloscope
LED Flasher

## Slide 4
23/08/2018
Otari Javakhishvili
4
SiPM Gain vs Voltage
1mV variation ~ 0.02…0.05 % in gain
Gain variation is directly related to energy resolution
LYSO energy resolution ~ 1%
Max. accepted ∆V ~ 10mV
Voltage [V]
[a.u.]

## Slide 5
Development of a new voltage source
23/08/2018
Otari Javakhishvili
5
Basic requirements:
Modular design
High output stability (temperature, long/short term, low noise)
Remote on/off capability (currently organized using Raspberry Pi)
Voltage adjustment (currently only manual)
Linear voltage regulator part
Ramp generator and on/off part

## Slide 6
First tests
23/08/2018
Otari Javakhishvili
6
First prototype board on a test bench (using internal voltage reference)
Output on/off curve with voltage ramp

## Slide 7
Power Supply Testing
What was made :
Signal shape was extracted from real data
Special software was developed to generate same signal using RedPitaya
Fast current sink was designed and developed to mimic the SiPM
Same RedPitaya was used for readout
The Idea:
Employ real SiPM signal from the data
Simulate SiPM loads in lab condition (no COSY beam)
Measure voltage drop at SiPM input
23/08/2018
Otari Javakhishvili
7

## Slide 8
23/08/2018
Otari Javakhishvili
8
Fast current sink – First prototype
First prototype without filters
Original signal (red)
Fast current sink signal (green)

## Slide 9
23/08/2018
Otari Javakhishvili
9
Original signal (red)
Fast current sink signal with “snubber” filter(green)
Fast current sink – Second prototype

## Slide 10
23/08/2018
Otari Javakhishvili
10
Fast current sink – Final prototype
Original signal (red)
Fast current sink signal with improved feedback and filters (green)

## Slide 11
23/08/2018
Otari Javakhishvili
11
Fast current sink
37 V
RedPitaya
Signal from
generator
Testing Environment
Signal from converter

## Slide 12
23/08/2018
Otari Javakhishvili
12
Power Supply
Vin 37
Fast current sink
30V
RedPitaya
Signal from
generator
100
8uF
Voltage drop
measurement
Power supply testing
SiPM board
On SiPM board there is 4x2uF capacitors (red) and inductance (blue)
Long cable
SiPM board designed at Ferrara university, Italy

## Slide 13
23/08/2018
Otari Javakhishvili
13
SiPM Board Test
One of the first measurement of voltage drop on SiPM board
Blue ≈ 21 mV – voltage drop at first prototype of SiPM board with 8µF capacitors
Red ≈ 12 mV – voltage drop on improved board with 40µF capacitors
On vertical scale 100 ≈ 12.2 mV

## Slide 14
23/08/2018
Otari Javakhishvili
14
POWER SUPPLY
Fast current sink
Red Pitaya
Testing Environment
PC power supply

## Slide 15
Voltage monitoring
MUX1
MUX2
MUX3
MUX4
MUX5
MUX6
MUX7
MUX8
MUX0
controller
Multimeter

## Slide 17
Voltage monitoring

## Slide 18
Reference voltage
Ic max6350
output temperature coefficient 0.5 ppm/C˚
Output noise 3 µVp-p
long term stability 30 ppm/1000hr

## Slide 19
Primary power supply
30-37V adjustable output voltage for detector modules and voltage monitoring system
12V for reference voltage source power
3.3V for port expander
5V for Raspberry Pi

## Slide 20
Primary power supply
Raspberry Pi power
Port expander power
Reference power
Power for detector modules

## Slide 21
Raspberry Pi
Reference voltage source
Power supply modules
Voltage monitoring system
Port expander
Voltmeter
Network
Power supply working chart

## Slide 22
Power monitoring system
Power supply modules
Raspberry Pi
Port expander

## Slide 23
σ = 0.13 mV
Determining noise level

## Slide 24
Voltage monitoring data. 6 days
Reference voltage source
Determining the cause of voltage drops

## Slide 25
Current flowing in detector in pics will be 0.075mA, this is very small amount of current and it can not cause such big voltage drops
Detector count rates for different channels
Voltage drop VS detector count rate

## Slide 26
System overall temperature coefficient is ≈ 3mV in 1C˚
Reference voltage source temperature coefficient is so small that we can not measure it with our equipment
Voltage drop VS temperature

## Slide 27
Summary & Outlook
30/09/2017
Otari Javakhishvili
27
First version of modular voltage supply for SiPMs was created and successfully tested
Dedicated test bench was developed for SiPM power system testing in lab condition
Multi channel power monitoring system was created and successfully used in experiment
Primary power supply has been developed with several output voltages and protection functions
Assemble primary power supply and make some tests and measurements
Add remote voltage adjustment for power supply modules.
Add current and temperature sensing
Add voltage compensation function on temperature changes