## Slide 1: Commissioning of the Waveguide RF Wien Filter at COSY
Dezember 19, 2016 Alexander Nass (on behalf of JEDI)
CBAC Meeting, Bad Honnef

## Slide 2
Use COSY for a first direct and EDM measurement
In a magnetic machine, the spin is not frozen, therefore we will use an RF technique:
  RF device operates on some harmonic of the spin precession frequency
  accumulate EDM signal with time
Idea for proof-of-principle srEDM experiment
Introduction

## Slide 3
Direct EDM measurement : Resonance Method with „magic“ RF Wien filter
Avoids coherent betatron oscillations of beam.
Radial RF-E and vertical RF-B fields to observe spin rotation due to EDM.
Approach pursued for a first direct measurement at COSY.
 „Magic RF Wien Filter“ no Lorentz force
Indirect EDM effect
Observable:
Accumulation of vertical polarization during spin coherence time
Polarimeter (dp elastic)
stored d
RF E(B)-field
In-plane polarization
Statistical sensitivity for in the range to range possible.
  Alignment, field stability of ring magnets, magnet imperfections, etc.
  Imperfection of RF- Wien filter

## Slide 4: The waveguide RF Wien Filter
Device will be installed in PAX low-𝛽 section
Device developed at IKP in cooperation with:
RWTH Aachen, Institute of High Frequency Technology:
  Dirk Heberling, Dominik Hölscher, and PhD Student Jamal Slim
ZEA-1 of Jülich:
  Ghaleb Natour, Helmut Soltner, Lars Reifferscheidt, Heidi Straatmann

## Slide 5: Some features of the new RF Wien filter
Waveguide design provides by design.
Ferrit cage
Mechanical
support
RF
feedthrough
Device rotatable by in situ
BPM
(Rogowski coil)
Copper
electrodes
Vacuum vessel with
small angle rotator
Clamps for the Ferrit cage
Belt drive for rotation
Ferrit cage
Beam pipe (CF 100)
Support structure
for electrodes
Inner support
tube
Support for geodetics
Aim is to build the best possible device with respect to electromagnetic performance, mechanical tolerances, etc.

## Slide 6: Internal structure of the device
Ceramic insulators
copper electrodes with the trapezium shaping at the edges
Sliding connector
to RF
Mechanical support
for electrodes
Clamps supporting the Ferrit cage
Inner support tube
Design completed, manifacturing of parts finished,
assembly in ZEA clean room started.

## Slide 7: Produced Parts
Design completed, manifacturing of parts finished,
assembly in ZEA clean room started.

## Slide 8: Electromagnetic field simulations
Full-wave simulation with CST Microwave Studio
Each simulation required hours of computer time
Excellent cooperation with RWTH and ZEA
Notes: on a 4-Tesla C2075 GPU cluster2, with 2 six-cores Xeon E53 and RAM capacity of 94GB

## Slide 9: Lorentz force compensation
Providing minimal integral Lorentz force requires careful shaping of electrodes and all other components
Lorentz force integral with along Wien filter axis
Continued work on RF driving circuit to reach seems possible.

## Slide 10: Driving circuit
Realization as a strip line with a load resistor and tuning elements (L/C).
Design layout using 4 separate power amplifiers of circuit. Circuit is supposed to be finished by beginning of february.

## Slide 11: „Mock“ system
Setup of a low-power system (1 W) to verify simulations.
Test successful, magnetic field values agree with simulations.
Courtesy of J.Slim, RWTH Aachen

## Slide 12: Feed back loops
Feedback loops involve components of the whole COSY ring.

## Slide 13: LABVIEW Control
Control and data transfer to COSY and DAQ using LABVIEW
LABVIEW
RF Generator
Polarimeter
COSYLAB
Driving circuit
Rogowski BPM‘s
Lorentz BPM
loop 1
DAQ
Data
loop 4
loop 1
Data
loop 2
loop 3
Motor, Position
loop 2
Rotation
Data

## Slide 14: Time plan 2017 / 2018
This time plan is necessary in order to achieve our goals.
2016
2017
2018
Phase 0
Laboratory
Phase 1
Commis.
Phase 2
Commis.
Phase 3
1st Expt.
Installation
2 weeks
+1 MD
2 weeks
+1 MD
2 weeks
+1 MD
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 15: Laboratory - Phase 0 (February/March)
Phase will be minimized adjusting Cp1 and Cp2.
LABVIEW control.
Setting up the driving circuit hardware
Implementation of Loop #3 – E & B phase
U, I, θ
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 16: COSY – Phase 1 (Mai/June) - MD
COSYLAB orbit control will use this data to control local orbit bump.
Implementation of Loop #4 - beam positioning on axis inside the RF Wien filter:
COSYLAB
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 17: COSY – Phase 1 (Mai/June) - beam time
BPM signal at RF Wien filter frequency used to minimize Lorentz force.
LABVIEW control, 90° (Bx, Ey).
Implementation of Loop #2 – Minimizing Lorentz force:
Rm  Cm1, Cm2
x,y @ fRF
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 18: COSY – Phase 1 (Mai/June) - beam time
Simulation of Lorentz-force kick on particles and response in BPM:
Single particle, E-field only
fWF
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 19: COSY – Phase 1 (Mai/June) - beam time
Relative BPM sensitivity ~10nm
 Fields can be adjusted better than 1%.
50000 particles, E-field only
Simulation of Lorentz-force kick on particles and response in BPM:
fWF
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 20: COSY – Phase 2 (September)
Phase lock of RF Wien filter frequency to spin precession frequency.
LABVIEW control, 90° (Bx, Ey) and 0° (By, -Ex).
Implementation of Loop #1 – Spin tune feedback:
Rotation of the device
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 21: Publications:
Electromagnetic Simulation and Design of a Novel Waveguide RF Wien Filter
for Electric Dipole Moment Measurements of Protons and Deuterons
J.Slim et al., Nucl. Instr. Meth. A 828, (2016), 116–124
Systematic Evaluation and Quantification of Fields’ Homogeneities of the
Novel Waveguide RF Wien Filter Using the Polynomial Chaos Expansion.
In preparation

## Slide 22: COSY Beam time request
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 23: Back-up slides

## Slide 24
    RF Wien Filter: Resonance conditions
,
Frequency range RF Wien filter prototype (Gebel/Mey)
New waveguide RF Wien filter will provide resonance conditions for deuterons and protons for a number harmonics