## Slide 1
Rogowski coils as beam position monitors
Helmut Soltner and Fabian Trinkel, March 13th 2017
Kick off meeting at CERN

## Slide 2
08 March 2017
2
Beam Position Monitor (BPM)
Conventional method:
New Development:
Excellent response to an RF signal
Easy to manufacture
More precise position measurement with
Rogowski BPM System and a first step to
a SQUID-based BPM development

## Slide 3
8. März 2017
3
Data acquisition
COSY RF
(Lock signal)
Data Acquisition (PC)
1
2
Preamplifier
(13.5 dB)
Preamplifier
(13.5 dB)
Zurich Instruments HFL2I Lock-in amplifier

## Slide 4
Magnetic field of particle beam
Particle Beam
Pickup-Coil
Current:
Beam Position:
Position:
Magnetic Field:

## Slide 5
Magnetic field of particle beam
Vector potential

## Slide 6
8. März 2017
6
Deviations from linear model
Notes: 6

## Slide 7
8. März 2017
7
Linear model
Notes: 7

## Slide 8
08 March 2017
8
Rogowski coil configurations
 | Rogowski coil configuration
 | Full segmentation
 | Halved segmentation
 | Quartered segmentation
† “Mutual inductances comparison in Rogowski coil with circular and rectangular cross-sections and its improvement” http://dx.doi.org/10.1109/ICIEA.2008.4582770
†
Notes: 8

## Slide 9
08 March 2017
9
Position determination and sensitivities
Coil parameters for sensitivities:
Notes: 9

## Slide 10
8. März 2017
10
Horizontal Rogowski coil BPM in COSY
One dimensional BPM
Time (s)
Initial beam
position
Orbit bump 1
1. Interval
2. Interval
Model prediction:
Assumption: vertical
orbit stays the same

## Slide 11
8. März 2017
11
Local orbit bump
Beam
Corrector Magnet 1
Corrector Magnet 2
Horizontal displacement
Rogowski coil BPM
Beam
Corrector Magnet 1
Corrector Magnet 2
Horizontal displacement
Rogowski coil BPM
a)
b)
Notes: 11

## Slide 12
1. Interval
8. März 2017
12
Initial horizontal voltage ratio

## Slide 13
8. März 2017
13
Result of the horizontal voltage ratio measurement

## Slide 14
8. März 2017
14
Vertical voltage ratio measurement
Time (s)
Initial beam
position
Continuous vertical
beam movement
Vertical beam position (mm)
Local vertical orbit bump
Model prediction:
Time (s)
Continuous vertical
beam movement
Assumption:
Horizontal orbit stays the same
Calculate:

## Slide 15
8. März 2017
15
Result of the vertical voltage ratio measurement

## Slide 16
8. März 2017
16
Analysis of the oscillating signal

## Slide 17
8. März 2017
17
Mechanical vibrations?
Beam position measurements in the horizontal plane
Oscillation of the setup with 6 Hz?
If the setup oscillates with such a frequency, then the frequency should also appear in the Fourier spectra of the sum voltage
Applying different electron cooler timings to the beam.
Influences only beam parameters and everything else stays the same
Electron cooler timings (s)
0
10
12
15

## Slide 18
8. März 2017
18
Fourier spectra sum voltage
No frequency in the spectra
The source of the measured voltage oscillation is not from the setup itself

## Slide 19
8. März 2017
19
Fourier spectra difference voltage
Different frequencies are visible in the spectra
By increasing the cooling time the amplitudes for 6 and 14 Hz increase and other frequencies popping up

## Slide 20
8. März 2017
20
Measurement with different electron cooling durations
The source of the oscillation is the accelerator itself and not the measurement setup

## Slide 21
8. März 2017
21
Cryostat for Rogowski coil
Cryostat for the Rogowski coil to test the setup with low temperatures in the laboratory
Next step to a SQUID-based Rogowski coil BPM to measure the position of clockwise and counter clockwise rotating beams
Installation in the accelerator

## Slide 22
8. März 2017
22
Summary and outlook
Test of the theory on data measured in the accelerator
Good agreement with the prediction and the measurement
Analysis of the oscillating voltage with different beam cooling settings
Reanalyse the data taken in December 2015 with the extended theory for two Rogowski coil BPMs, which were parted into four segments
E- and B- Field region
1200 mm