## Slide 1: Search for permanent electric dipole moments of protons and deuterons using storage rings
April 21, 2016 Frank Rathmann (on behalf of JEDI)
EDM Collaboration Meeting, CAPP, IBS, Daejeon, South Korea

## Slide 2: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
Toward a first direct EDM measurement
Conclusion

## Slide 3: Five questions:
Why do we observe matter and almost no antimatter if we believe there is a symmetry between the two in the universe?
What is this "dark matter" that we can't see that has visible gravitational effects in the cosmos?
Why can't the Standard Model predict a particle's mass?
Are quarks and leptons actually fundamental, or made up of even more fundamental particles?
Why are there exactly three generations of quarks and leptons? How does gravity fit into all of this?
From http://particleadventure.org/beyond_start.html

## Slide 4: Physics: Observed Baryon Asymmetry
Carina Nebula: Largest-seen star-birth regions in the galaxy
Observed |  | WMAP+COBE (2003)
SM exp. |  | 
Observed |  | WMAP+COBE (2003)
SM exp. |  | 
Search for new physics beyond the standard model
Mystery of missing antimatter addresses the puzzle of our existence
Why this strange number? Why not zero?

## Slide 5: Physics: Baryogenesis
Ingredients for baryogenesis: 3 Sakharov conditions
(1967)

## Slide 6
Permanent EDMs violate both and symmetry.
Assuming to hold, violated also.
Not Charge symmetric
(aligned with spin)
EDMs: Discrete Symmetries
Notes: 6
6

## Slide 7
Search for Electric Dipole Moments (EDM) of fundamental particles
Adapted from: Nature,
Vol 482 (2012)
Example: Neutron (nEDM)
Introduction: Precision Frontier

## Slide 8: Introduction: Why charged particle EDMs?
No direct measurements of charged hadron EDMs
Potentially higher sensitivity than neutrons
  longer life time
  more stored polarized protons/deuterons
  larger electric fields
Approach complimentary to neutron EDM
access to
EDM of a single particle not sufficient to identify CP-violating source
Charged particle EDM experiments can potentially provide a higher sensitivity than nEDM

## Slide 9: EDMs: Naive estimate of the nucleon EDM scale
& conserving magnetic moment nuclear magneton
A non-zero EDM requires
  violation: the price to pay is , and
  violation (from K-decays): the price to pay is
In summary:
In SM (without term):
Khriplovich & Lamoreux (1997); Nikolaev (2012)
Region to search for BSM physics using nucleon EDMs:

## Slide 10
Goal: provide to the same level
High precision, primarily electric storage ring
  alignment, stability, field homogeneity, and shielding from perturbing magnetic fields
High beam intensity ()
Stored polarized hadrons ()
Large electric fields ()
Long spin coherence time ()
Efficient polarimetry ()
Concept: Experimental requirements

## Slide 11
For transverse electric and magnetic fields in a ring, the
anomalous spin precession is described by Thomas-BMT equation:
Magic condition: Spin along momentum vector
For any sign of , in a combined electric and magnetic machine
, where and
For (protons) in an all electric ring
(magic)
Concept: Frozen spin Method
 Magic rings to measure EDMs of free charge particles

## Slide 12
Place particles in a storage ring
Align spin along momentum („freeze“ horizontal spin precession)
Search for time development of vertical polarization
Concept: Rings for EDM searches
New Method to measure EDMs of charged particles:
Magic rings with spin frozen along momentum
Polarization buildup
Notes: 12
12

## Slide 13
A magic storage ring for protons (electrostatic), deuterons, …
particle |  |  |  | 
proton |  |  |  | 
particle |  |  |  | 
proton |  |  |  | 
Concepts: Magic Storage ring
Possible to measure , , using one machine with m
B
deuteron |  |  |  | 
 |  | 280.0 |  | 
deuteron |  |  |  | 
 |  | 280.0 |  | 
Notes: 13
13

## Slide 14
Magnetic fields:
Radial field mimics EDM effect when
With in a field of ,
Solution: Use two beams simultanously, clockwise (CW) and counter-clockwise (CCW), the vertical separation of the beam orbits is sensitive to .
Concept: Systematics
Use CW and CCW beams to tackle systematics

## Slide 15: Recent Progress: Magnetic shielding
Next generation nEDM experiment under development at TUM (FRM II):
Goal: Improve present nEDM limit by factor .
Experiment shall use multi-layer shield.
Applied magnetic field: .
J. Appl. Phys. 117 (2015)
At mHz frequencies, damping of achieved

## Slide 16
Splitting of beam orbits:
denotes the vertical betatron tune
Modulate with
Splitting corresponds to
In one year of measurement: fills of each per fill
Concept: Systematics, Orbit splitting (Dave Kawall)
Required sensitivity , achievable with state-of-the-art SQUID magnetometers.

## Slide 17: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
  Toward a first direct EDM measurement
  Conclusion

## Slide 18
A
one particle with
magnetic moment
“spin tune”
“spin closed orbit vector”
ring
makes one turn
stable polarization
if ║
Insert: Spin closed orbit and spin tune
Spin closed orbit
The number of spin precessions per turn is called spin tune

## Slide 19: Challenge: Spin coherence time (SCT)
We usually don‘t worry about coherence of spins along
At injection all
spin vectors aligned (coherent)
After some time, spin vectors get out of phase and fully populate the cone
Polarization along not affected!
Situation very different, when you deal with machines with frozen spin.
At injection all spin vectors aligned
Later, spin vectors are out of phase in the horizontal plane
Longitudinal polarization vanishes!
In a machine with frozen spins the buildup time
to observe a polarization is limited by .

## Slide 20: EDM at COSY: COoler SYnchrotron
Cooler and storage ring for (polarized) protons and deuterons
Phase space
cooled internal &
extracted beams
Injector cyclotron
COSY
… the spin-physics machine
for hadron physics
… an ideal starting point
for EDM search
Notes: 20

## Slide 21: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
  Toward a first direct EDM measurement
  Conclusion

## Slide 22
turn spin
free precession
polarimeter
Spin coherence time: Experimental investigation
Vertically polarized deuterons stored in COSY at .
The polarization is flipped into horizontal plane with RF solenoid (takes ).
Beam slowly extracted on Carbon target with ramped bump or by heating the beam.
Horizontal (in-plane) polarization determined from Up-Do asymmetry in the detector.
Experimental investigations of SCT in storage ring: Keep track of the event time and revolution time in each turn during a cycle of a few hundred seconds.

## Slide 23
Polarimeter: Determination of SCT
Observed experimental decay of the asymmetry as function of time, .

## Slide 24
Polarimeter: Optimization of SCT
Using sextupole magnets in the machine, higher order effects can be corrected, and the SCT is substantially increased

## Slide 25
More progress on : Spring 2015
Way beyond anybody’s expectations
For further details, see talk by Ed Stephenson

## Slide 26: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
  Toward a first direct EDM measurement
  Conclusion

## Slide 27: Spin tune : How to m?
Solution: Map all events into one spin oscillation period
, a priori not known ()
Detector rate is , one hit in detector per beam revolutions
Scan in an interval around and find maximum of asymmetry

## Slide 28
Spin tune: D
Spin tune determined to in 2 s time interval, and in a cycle at to (PRL 115, 094801 (2015)
Monitor phase of asymmetry
with fixed in a 100 s cycle.

## Slide 29: New precision tool: Spin tune determination
Study long term stability of an accelerator
Develop feedback systems to minimize variations
Phase-locking the spin precession to RF devices possible
Observed behavior of subsequent cycles

## Slide 30: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
  Toward a first direct EDM measurement
  Conclusion

## Slide 31: Systematic study: Machine imperfections using two straight section solenoids
Idea: The precise determination of the spin tune can be exploited to map out the magnetic imperfections of COSY.
COSY provides two solenoids in opposite straight sections:
  one of the compensation solenoids of the 70 kV cooler: ,
  The main solenoid of the 2 MV cooler: .
Both are available dynamically in the cycle, i.e., their strength can be adjusted on flat top.
Systematic effects from machine imperfections limit the achievable precision in an EDM experiment using an RF Wien filter.

## Slide 32: Systematic study: Simulation of one imperfection spin kick for deuterons at MeV/c
Ideal machine with vanishing static imperfections: Saddle point at the origin
sea level at
Intrinsic imperfection kick shifts saddle point away from origin
Location of imperfection:

## Slide 33: Systematic study: Thomas-BMT eq. in magnetic machine
, and
BMT for magnetic machine with
Interaction of EDM with motional E-field ) tilts stable spin axis:
Goal: explore dynamics and systematic limitations of EDM searches in magnetic ring
Misalignment of magnetic elements produces in-plane imperfection magnetic fields:
Non-vanishing and generate background to the EDM-signal of an ideal imperfection-free machine (, and ).
The challenge is to control this background:
An accuracy amounts to a sensitivity .

## Slide 34: Systematic study: Imperfection measurement
Probing the in-plane imperfection fields by introducing artificial imperfections and looking for the spin tune response
The values of , and depend of spin kicks in non-vertical imperfection fields in the arcs spin tune perturbed:
Use the compensation and e-cooler solenoids in straight sections (points 1 and 2): spin kicks and .
Probe the in-plane imperfection fields by introducing well-known artificial imperfections and .

## Slide 35
Systematic study: Measurement of spin tune shift
Take multiple measurements with different , , build a spin tune map

## Slide 36
Systematic study: Mapping machine
imperfections
Map translated to
From the map taken on 18+19.09.2014, with the baseline spin tune at , one finds: .
Fit map to locate saddle point

## Slide 37
Systematic study: Mapping imperfections
Map translated to
New technique allows one to determine experimentally components of spin closed orbit in storage ring with unprededented precision (not achievable from polarization measurements alone).
Extremum of spin tune map is saddle point at .
Once baseline spin tune determined, are only fit parameters.
Solenoids only are not sensitive to (static WF with and ).

## Slide 38: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
  Beam position monitors
  Electrostatic deflectors
  Toward a first direct EDM measurement
  Conclusion

## Slide 39
Charged particle EDM searches require the development of a new class of high-precision machines with mainly electric fields for bending and focussing.
Issues are:
Electric field gradients at plate distance 
Spin coherence time 
Continuous polarimetry 
Beam position monitoring 
Spin tracking 
These issues must be addressed experimentally at existing facilities
Technical challenges: Overview

## Slide 40
Challenge: Niobium electrodes
Large-grain Nb at plate separation of a few cm yields ~20 MV/m
Show one slide on JLAB data HV devices
DPP stainless steel
fine-grain Nb
large-grain Nb
large-grain Nb
single-crystal Nb

## Slide 41
Challenge: Electric deflectors for magic rings
Electrostatic separators at Tevatron were used to avoid unwanted interactions - electrodes made from stainless steel
Routine operation at at
L~2.5 m
Need to develop new electrode materials and surface treatments
May 2014: Transfer of separator unit plus equipment from FNAL to Jülich

## Slide 42
Deflector development will use scaled models
  Electric fields are the same, but voltages
  Avoids shielding of x-rays
  Allows tests to be done in usual lab environment
Development of real size combined elements (E & B)
  Begin EDM search with deuterons
  Use existing dipole magnet of internal ANKE spectrometer
  Allows for tests with beam
Challenge: Electric deflectors for magic rings
Development of new deflector materials, treatment methods towards high fields , and combined E-B deflectors

## Slide 43: Electrostatic deflectors: Clean room at RWTH
Prof. Marquardt chairman of FZJ directors board and Prof. Schmachtenberg Rektor of RWTH Aachen
Test bench at RWTH Aachen
Development of mall scale deflector elements in cooperation with RWTH (Kirill Grigoriev).
But: Results need to be verified using 1:1 deflector models (Jülich).

## Slide 44: Different shape of the electrodes
Material : Stainless steel, Aluminum
Mechanical polished and cleaned
Stainless steel
Two small half-spheres (R = 10mm)
17kV at 1mm distance → 17 MV/m
Half-sphere vs. flat surface
12kV at 0.05 mm distance → 240 MV/m
Aluminum
Two small half-spheres (R = 10mm)
3kV at 0.1mm distance → 30 MV/m
Electrostatic deflectors: Some results

## Slide 45: Large scale elements: ANKE chicane at COSY
D1
D3
D2
Idea (Jürgen Böker): Produce E-B deflector by insertion of
deflector element into D2 magnet chamber.

## Slide 46: Large-scale E-B deflector development
D2 magnet:
Actuators
Feed-Throughs
Deflector
Deflector: Length: , Height: , Gap:
Begin development with straight elements, lateron test bent elements.

## Slide 47: Challenge BPMs: Rogowski coil
For bunched beams, sum signal of Rogowski coil can be used as a beam current monitor.
Installed in ANKE target chamber
Readout
Rogowski coil
BCT
Bunched beam
Integral signal measures beam current
Quadrant signals sensitive to position

## Slide 48
EDM experiments use bunched beams:
Rogowski coil system well-suited.
Small size allows for flexible installation ( Stripline RF Wien filter)
Quadrant signals of Rogowski coil sensitive to beam position.
Tests at COSY can be carried out parasitically.
Integral signal measures beam current
Quadrant signals sensitive to position
Challenge BPMs: Rogowski coil
left
right
down
up
Dynamic range
particles
Maximum deviation from axis
Resolution:

## Slide 49: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
  Toward a first direct EDM measurement
  Conclusion

## Slide 50
Use COSY for a first direct and EDM measurement
Use an RF technique:
  RF device operates on some harmonic of the spin precession frequency
  accumulate EDM signal with time
Idea for proof-of-principle srEDM experiment

## Slide 51
Direct EDM measurement : Resonance Method with „magic“ RF Wien filter
Avoids coherent betatron oscillations of beam.
Radial RF-E and vertical RF-B fields to observe spin rotation due to EDM.
Approach pursued for a first direct measurement at COSY.
 „Magic RF Wien Filter“ no Lorentz force
Indirect EDM effect
Observable:
Accumulation of vertical polarization during spin coherence time
Polarimeter (dp elastic)
stored d
RF E(B)-field
In-plane polarization
Statistical sensitivity for in the range to range possible.
  Alignment and field stability of ring magnets
  Imperfection of RF-E(B) flipper

## Slide 52
First direct EDM measurement:
Resonance Method for deuterons
Parameters: beam energy
assumed EDM
E-field
EDM effect accumulates in (see Phys. Rev. ST AB 16, 114001 (2013))

## Slide 53
Parameters: beam energy
assumed EDM
E-field
EDM effect accumulates in
Linear extrapolation of for a time period of yields a sizeable .
First direct Edm measurement:
Resonance Method for deuterons

## Slide 54
    RF Wien Filter: Resonance condition
Deuterons at 970 MeV/c: ; ;
,
Frequency range RF Wien filter prototype

## Slide 55: RF Wien Filter: Prototype commissioning
EDM measurement concept: RF Wien filter to accumulate EDM signal
Insert RF-dipole into ceramic chamber

## Slide 56: RF Wien Filter: Field calculations
Main field component
at ,
Main field component
at ,
Integral compensation of Lorentz force at

## Slide 57
    RF Wien Filter: Measurement of Resonance Strengths
Continuous polarimetry: Fixed frequency scans for resonance determination
Damping due to decoherence
Cross-ratio of UD-asymmetries used.
Minimum vertical polarization oscillation frequency gives resonance strength:
871.4276
871.4276
871.4276
0.20
0.25
0.30
0.35

## Slide 58
    RF Wien Filter: Preliminary Results
RF solenoid:
RF Wien filter:
RF dipole:
M.A. Leonova et al., contribution to Spin 2008
From driven vertical oscillation at fixed frequency
From froissart-Stora scans
RF 𝐄×𝐁 Wien filter protoype performs like an RF solenoid

## Slide 59: Development of waveguide RF Wien Filter
Device will be installed in PAX low-𝛽 section
Device developed at IKP in cooperation with:
RWTH Aachen, Institute of High Frequency Technology:
  Dirk Heberling, Dominik Hölscher, and PhD Student Jamal Slim
ZEA-1 of Jülich:
  Helmut Soltner, Lars Reifferscheidt, Heidi Straatmann

## Slide 60: Some features of the new RF Wien filter
Waveguide provides by design.
Ferrit cage
Mechanical
support
RF
feedthrough
Device rotatable by in situ
BPM
(Rogowski coil)
Copper
electrodes
Vacuum vessel with
small angle rotator
Clamps for the Ferrit cage
Belt drive for rotation
Ferrit cage
Beam pipe (CF 100)
Support structure
for electrodes
Inner support
tube
Support for geodetics
Aim is to build the best possible device with respect to electromagnetic performance, mechanical tolerances, etc.

## Slide 61: Internal structure of the device
Ceramic insulators
copper electrodes with the trapezium shaping at the edges
Sliding connector
to RF
Mechanical support
for electrodes
Clamps supporting the Ferrit cage
Inner support tube
Design completed, production started, device available in fall 2016.

## Slide 62: Electromagnetic field simulations
Full-wave simulation with CST Microwave Studio
Each simulation required hours of computer time
Excellent cooperation with RWTH and ZEA
For details, see preprint: https://arxiv.org/abs/1603.01567
Notes: on a 4-Tesla C2075 GPU cluster2, with 2 six-cores Xeon E53 and RAM capacity of 94GB

## Slide 63: Lorentz force compensation
Providing minimal integral Lorentz force requires careful shaping of electrodes and all other components
Lorentz force integral with along Wien filter axis
Mechanical design completed. Continued work on RF driving circuit.
Goal is to reach possible.

## Slide 64
    RF Wien Filter: Resonance conditions
,
Frequency range RF Wien filter prototype (Gebel/Mey)
New waveguide RF Wien filter will provide resonance conditions for deuterons and protons for a number harmonics

## Slide 65: Concept for first measurements
EDM hidden underneath imperfections from magnet misalignments.
M Rosenthal et al, IBIC 2015
Simulations with COSY-INF. and RF Wien filter (, ) in EDM buildup mode.
Notes: Vertical spin buildup for closed orbit deuterons in an ideal ring, as well as for quadrupole misalignments for two different randomization seeds.
The black dots show tracking results, the colored lines are analytical estimates

## Slide 66
Concept for first measurements
With an RF Wien filter of , can be reached in 1000 s.
M Rosenthal et al, IBIC 2015
Randomized error standard deviation of RMS displacements .
Contribution to buildup from misalignments
similar to EDM for .

## Slide 67: Results from the December 2015 run at COSY
Rotate deuteron spins into ring plane and let them freely precess.
Lock the solenoid RF phase to the polarization direction of the ensemble
Use small RF solenoid amplitude to mimic polarization buildup
Phase-locking works via changing of the COSY RF (first try).
Later, we will phase-lock to RF Wien filter RF.
During commissioning, waveguide RF Wien filter will be rotated to observe RF phase-dependence with small amplitudes
Volker Hejny, Ed Stephenson
see talk by Ed. Stephenson for further details

## Slide 68: Outline
Introduction
Recent Achievements
  Spin coherence time
  Spin tune measurement
  Study of magnetic machine imperfections
Technical challenges
  Toward a first direct EDM measurement
  Conclusion

## Slide 69
Step | Aim / Scientific goal | Device / Tool | Storage ring
1 | Spin coherence time studies | Horizontal RF-B spin flipper | COSY
 | Systematic error studies | Vertical RF-B spin flipper | COSY
2 | COSY upgrade | Orbit control, magnets, … | COSY
 | First direct EDM measurement at | RF Wien filter | Modified COSY
3 | Built dedicated all-in-one ring for , , | Common magnetic-electrostatic deflectors | Dedicated ring
4 | EDM measurement of , , at |  | Dedicated ring
Step | Aim / Scientific goal | Device / Tool | Storage ring
1 | Spin coherence time studies | Horizontal RF-B spin flipper | COSY
 | Systematic error studies | Vertical RF-B spin flipper | COSY
2 | COSY upgrade | Orbit control, magnets, … | COSY
 |  |  | Modified COSY
3 |  | Common magnetic-electrostatic deflectors | Dedicated ring
4 |  |  | Dedicated ring
Timeline: Stepwise approach towards all-in-one machine
Time scale: Steps 1 and 2: years Steps 3 and 4: years

## Slide 70: JEDI Collaboration
JEDI = Jülich Electric Dipole Moment Investigations
~100 members (Aachen, Daejeon, Dubna, Ferrara, Indiana, Ithaka, Jülich, Krakow, Michigan, Minsk, Novosibirsk, St Petersburg, Stockholm, Tbilisi, … http://collaborations.fz-juelich.de/ikp/jedi/)
~ 10 PhD students
May the force be with us!

## Slide 71
EDMs offer new window to disentangle sources of violation, and to explain matter-antimatter asymmetry of the universe.
First direct EDM measurements () at COSY
Development of a dedicated EDM storage ring
  Conceptual design report
Spin tune determination is a new precision tool for accelerator studies
  Map out magnetic imperfections in a machine
Successful phase-locking of spin precession to solenoid RF
Development of high-precision spin tracking tools, incl. RF structures.
Development of electrostatic deflectors (also ), BPMs etc.
Conclusion
Very challenging …, but the physics is fantastic.

## Slide 72
Georg Christoph Lichtenberg (1742-1799)
“Man muß etwas Neues machen, um etwas Neues zu sehen.”
“You have to make (create) something new,
if you want to see something new”

## Slide 73: Publications
Experiment:
A. Lehrach, B. Lorentz, W. Morse, N.N. Nikolaev, F. Rathmann, Precursor Experiments to Search for Permanent Electric Dipole Moments (EDMs) of Protons and Deuterons at COSY, e-Print: arXiv:1201.5773 (2012).
N.P.M. Brantjes et al., Correcting systematic errors in high-sensitivity deuteron polarization measurements, Nucl. Instrum. Meth. A664, 49 (2012), DOI: 10.1016/j.nima.2011.09.055
P. Benati et al., Synchrotron oscillation effects on an rf-solenoid spin resonance, Phys. Rev. ST Accel. Beams 15 (2012) 124202, DOI: 10.1103/PhysRevSTAB.15.124202.
Frank Rathmann, Artem Saleev, N.N. Nikolaev [JEDI and srEDM Collaborations], The search for electric dipole moments of light ions in storage rings, J. Phys. Conf. Ser. 447 (2013) 012011, DOI: 10.1088/1742-6596/447/1/012011.
Z. Bagdasarian et al., Measuring the Polarization of a Rapidly Precessing Deuteron Beam, Phys. Rev. ST Accel. Beams 17 (2014) 052803, DOI: 10.1103/PhysRevSTAB.17.052803.
F. Rathmann et al. [JEDI and srEDM Collaborations], Search for electric dipole moments of light ions in storage rings, Phys. Part. Nucl. 45 (2014) 229, DOI: 10.1134/S1063779614010869.
D. Eversmann et al. [JEDI Collaboration], New method for a continuous determination of the spin tune in storage rings and implications for precision experiments, Phys. Rev. Lett. 115, 094801 (2015), DOI: 10.1103/PhysRevLett.115.094801
Theory:
J. Bsaisou, J. de Vries, C. Hanhart, S. Liebig, Ulf-G. Meißner, D. Minossi, A. Nogga, A. Wirzba, Nuclear Electric Dipole Moments in Chiral Effective Field Theory, Journal of High Energy Physics 3, 104 (2015), DOI:10.1007/JHEP03(2015)104

## Slide 74: Anouncement
In case you are interested, please visit
http://collaborations.fz-juelich.de/ikp/hpss2016/ for further information. Registration is now open.
Hadron Physics Summer School 2016
September 5-9, 2016 at Jülich