## Slide 1
Power Supply Development for JEDI Polarimeter Modules
30.09.2017
Otari Javakhishvili 1st SMART|_Lab’s Workshop
(AUG / SMART|EDM_Lab TSU )

## Slide 2
30/09/2017
Otari Javakhishvili
2
New concept of the JEDI Polarimeter

## Slide 3
30/09/2017
Otari Javakhishvili
3
LYSO Cristal 3X3X8 cm
SiPM (SensL J-series, 20µm pixel) Module and connector
Aluminum holder and wave springs for tension
Detector module structure

## Slide 4
30/09/2017
Otari Javakhishvili
4
SiPM Lab Test
Dark box
Signal Generator
(Fixed Signal)
SiPM
Power Supply
25v ~ 32v
Oscilloscope
LED Flasher

## Slide 5
30/09/2017
Otari Javakhishvili
5
SiPM Gain vs Voltage
1mV variation ~ 0.02…0.05 % in gain
Gain variation is directly related to energy resolution
LYSO energy resolution ~ 1%
Max. accepted ∆V ~ 10mV
Voltage [V]
[a.u.]

## Slide 6
Development of a new voltage source
30/09/2017
Otari Javakhishvili
6
Basic requirements:
Modular design
High output stability (temperature, long/short term, low noise)
Remote on/off capability (currently organized using Raspberry Pi)
Voltage adjustment (currently only manual)
Linear voltage regulator part
Ramp generator and on/off part

## Slide 7
First tests
30/09/2017
Otari Javakhishvili
7
First prototype board on a test bench (using internal voltage reference)
Output on/off curve with voltage ramp

## Slide 8
Power Supply Testing
What was made :
Signal shape was extracted from real data
Special software was developed to generate same signal using RedPitaya
Fast current sink was designed and developed to mimic the SiPM
Same RedPitaya was used for readout
The Idea:
Employ real SiPM signal from the data
Simulate SiPM loads in lab condition (no COSY beam)
Measure voltage drop at SiPM input
30/09/2017
Otari Javakhishvili
8

## Slide 9
30/09/2017
Otari Javakhishvili
9
Fast current sink – First prototype
First prototype without filters
Original signal (red)
Fast current sink signal (green)

## Slide 10
30/09/2017
Otari Javakhishvili
10
Original signal (red)
Fast current sink signal with “snubber” filter(green)
Fast current sink – Second prototype

## Slide 11
30/09/2017
Otari Javakhishvili
11
Fast current sink – Final prototype
Original signal (red)
Fast current sink signal with improved feedback and filters (green)

## Slide 12
30/09/2017
Otari Javakhishvili
12
Fast current sink
37 V
RedPitaya
Signal from
generator
Testing Environment
Signal from converter

## Slide 13
30/09/2017
Otari Javakhishvili
13
Power Supply
Vin 37.27
Fast current sink
30.04V
RedPitaya
Signal from
generator
100
8uF
Voltage drop
measurement
Power supply testing
SiPM board
On SiPM board there is 4x2uF capacitors (red) and inductance (blue)
Long cable
SiPM board designed at Ferrara university, Italy

## Slide 14
30/09/2017
Otari Javakhishvili
14
POWER SUPPLY
Fast current sink
Red Pitaya
Testing Environment
PC power supply

## Slide 15
30/09/2017
Otari Javakhishvili
15
≈6 mV Voltage drop
40uF capacitors
≈21 mV Voltage drop
8uF capacitors original board
SiPM Board Test

## Slide 16
Summary & Outlook
30/09/2017
Otari Javakhishvili
16
First version of modular voltage supply for SiPMs was successfully tested
Dedicated test bench was developed for SiPM power system testing
We are going to continue SiPM board tests for further improvement
Develop a multichannel voltage monitoring system for next beam time
Add current sensing and remote voltage adjustment to the supply