## Slide 1: Integrating Plant Bio monitoring and Low-Cost Air Quality Monitoring for PM assessment in Georgia
Kato Melikidze
Kato.melikidze.1@iliauni.edu.ge

## Slide 2
My Background
Green Pole
Eco Tips Book - Part 1,2,3,4
Monitoring of Stone Dry Cutting in Tbilisi
Civil Air Quality Monitoring System Setup
Ilia State University
Determination of Wood Density and Related Parameters for Tree Genera
Assessment of Red List Forest Species of Georgia
Check list for Georgian flora
National Forest Inventory in Georgia
Member of NARI - (Network of Amateur Researchers Inquiry)
Entomology Lab – volunteer
Science Popularisation Project- mobile lab in regions

## Slide 3: Air Pollution: PM particles
https://seetheair.org/2022/05/16/particulate-matter-pm2-5-mega-guide/
PM1 ≤ PM2.5 ≤ PM10
PM10
• Respiratory tract irritation • Asthma
PM2.5
• Respiratory diseases • Increased risk of lung cancer
PM1
• Cardiovascular diseases • Nervous system damage • Premature mortality

## Slide 4: The Air Pollution Challenge in Georgia
• 7M premature deaths/year (WHO, 2024)
• PM2.5: 7.6X above WHO guideline
• PM influenced by meteorological, spatial & temporal factors
https://www.reddit.com/r/tbilisi/comments/14qgdef/tbilisi_shaded_relief_map_highlights_the_terrain/#lightbox

## Slide 5
Tbilisi

## Slide 6
Civil Activism + Enforcement Mechanism

## Slide 7: Civilian Monitoring Network – “Cometer”
• A project by Green Pole, Arnika, and the Embassy of the Czech Republic
• Assembly, installation, monitoring, and software development

## Slide 8: Technical Specifications
Measures:
PM1, PM2.5, PM10
VOC (Volatile Organic Compounds)
Nox
Temperature, Humidity, Pressure

## Slide 9: Deployment and Measurements
• Installed at a height of 4–5 m
• 19 populated areas – 94 sensors
• Measurements recorded every 15 minutes

## Slide 10
 | Populated areas | Number of sensors | Number of data points
Before data processing | 19 | 94 | >1 500 000
After data processing | 16 | 55 | 442 470
Data Processing

## Slide 11
Kruskal–Wallis: p < 0.001
Pairwise Wilcoxon: p < 0.001
Comparison of PM1 Among Seasons

## Slide 12
Comparison of PM1 among cities

## Slide 13
Hourly variation of PM1

## Slide 14: GAM Model (Meoteorological factors)

## Slide 15
Dr hab. Arkadiusz Przybysz
Warsaw University of Life Sciences
Dr hab. inż. Robert Popek,
Tbilisi, Mtskheta, Rustavi, Kaspi
Selected Cities

## Slide 16
Collecting Leaves

## Slide 17
Pinus nigra (black pine)
Robinia pseudoacacia (black locust)
Hedera helix (common ivy)
Acer (maple)
Plant Species
Widespread occurrence
Good air filtration
Deciduous, evergreen conifer, climbing plants

## Slide 18
PM (0.2-2.5, 2.5-10 and 10-100 µm)
1. deposited directly on the leaf surface
2. migrated to plant waxes
Trace elements – heavy metals (Cu, Fe, Mn…)
Microplastic on leaf surface
Examined Parameters
- filtration-weighing method
- XRF (X-ray fluorescence)
- FTIR
Methods

## Slide 19: FTIR

## Slide 20
PM filtration-weighing method

## Slide 22
Thank you for attention!

## Slide 23: Used Sources
Chen, Z. H., S. Y. Cheng, J. B. Li, X. R. Guo, W. H. Wang, and D. S. Chen. 2008. “Relationship between Atmospheric Pollution Processes and Synoptic Pressure Patterns in Northern China.” Atmospheric Environment 42 (24): 6078–6087.
Emekwuru, N., Nwabueze, and O. Ejohwomu. 2023. “Temperature, Humidity and Air Pollution Relationships during a Period of Rainy and Dry Seasons in Lagos, West Africa.” Climate 11 (5): 113
Hrnciar, Matus, Simona Bočková, Jan Chytrý, Jan Labohy, Roman Bohovic, Martin Skalsky, Marcela Cernochova, and Nini Toidze. 2023. Air Pollution in Georgia as Seen from Space. Prague-Tbilisi: Arnika - Citizens Support Centre
Karagulian, Federico, Claudio A. Belis, Carlos Francisco C. Dora, Annette M. Prüss-Ustün, Sophie Bonjour, Heather Adair-Rohani, and Markus Amann. 2015. “Contributions to Cities’ Ambient Particulate Matter (PM): A Systematic Review of Local Source Contributions at Global Level.” Atmospheric Environment 120: 475–483.
Kirkitadze, Darejan D. 2023. “Statistical Characteristics of Monthly Mean and Annual Concentrations of Particulate Matter PM2.5 and PM10 in Three Points of Tbilisi in 2017–2022.” Journals of Georgian Geophysical Society 26 (1).
Krittanawong C, Qadeer YK, Hayes RB, Wang Z, Thurston GD, Virani S, Lavie CJ. 2023. PM2.5 and cardiovascular diseases: State-of-the-Art review. International Journal of Cardiology Cardiovascular Risk and Prevention, Volume 19. Journal Article.
Kukhalashvili, V. G., M. G. Pipia, N. G. Gigauri, A. A. Surmava, and L. N. Intskirveli. 2022. “Study of Tbilisi City Atmosphere Pollution with PM2.5 and PM10-Microparticles During COVID-19 Pandemic Period.” Journals of Georgian Geophysical Society 25 (2).
Li, Xiaolan, Yanjun Ma, Yangfeng Wang, Ningwei Liu, and Ye Hong. 2017. “Temporal and Spatial Analyses of Particulate Matter (PM10 and PM2.5) and Its Relationship with Meteorological Parameters over an Urban City in Northeast China.” Atmospheric Research 198: 185–193.
Lou, C., H. Liu, Y. Li, Y. Wang, N. Liu, and Y. Hong. 2017. “Relationships of Relative Humidity with PM2.5 and PM10 in the Yangtze River Delta, China.” Environmental Monitoring and Assessment 189: 582.
Mandal, Mamun, Robert Popek, Arkadiusz Przybysz, Anamika Roy, Sujit Das, and Abhijit Sarkar. 2023. Breathing Fresh Air in the City: Implementing Avenue Trees as a Sustainable Solution to Reduce Particulate Pollution in Urban Agglomerations. Plants 12, no. 7: 1545.
Mandal, U. K., R. Popek, A. Przybysz, R. Singh, A. Roy, and S. Ghosh. 2022. “Not Only Trees Matter—Traffic-Related PM Accumulation by Vegetation Layers in Urban Forests.” Sustainability 14 (5): 2973.
Moreno, T., A. Karanasiou, F. Amato, F. Lucarelli, S. Nava, G. Calzolai, M. Chiari, E. Coz, B. Madrid Artíñano, J. Lumbreras, R. Borge, E. Boldo, C. Linares, A. Alastuey, X. Querol, and W. Gibbons. 2013. Daily and Hourly Sourcing of Metallic and Mineral Dust in Urban Air Contaminated by Traffic and Coal-Burning Emissions. Atmospheric Environment 68: 33–44.
Nguyen, M. V., G. H. Park, and B. K. Lee. 2017. “Correlation Analysis of Size-Resolved Airborne Particulate Matter with Classified Meteorological Conditions.” Meteorology and Atmospheric Physics 129: 35–46.
Polichetti, Giuliano, Stefania Cocco, Alessandra Spinali, Valentina Trimarco, and Alfredo Nunziata. 2009. “Effects of Particulate Matter (PM10, PM2.5 and PM1) on the Cardiovascular System.” Toxicology 261 (1–2): 1–8.
Putaud, J.-P., R. Van Dingenen, A. Alastuey, H. Bauer, W. Birmili, J. Cyrys, H. Flentje, S. Fuzzi, R. Gehrig, H. C. Hansson, and others. 2010. “A European Aerosol Phenomenology – 3: Physical and Chemical Characteristics of Particulate Matter from 60 Rural, Urban, and Kerbside Sites across Europe.” Atmospheric Environment 44 (10).
Sensirion AG. 2022. Datasheet SEN5x Environmental Sensor Node for HVAC and Air Quality Applications.
Tai, Amos P. K., Loretta J. Mickley, and Daniel J. Jacob. 2010. “Correlations between Fine Particulate Matter (PM2.5) and Meteorological Variables in the United States: Implications for the Sensitivity of PM2.5 to Climate Change.” Atmospheric Environment 44 (32): 3976–3984.
United States Environmental Protection Agency. 2026. “Particulate Matter (PM) Basics.” https://www.epa.gov/pm-pollution/particulate-matter-pm-basics (16.06.2026)
Wood, Simon N. 2017. Generalized Additive Models: An Introduction with R. 2nd ed. Boca Raton: Chapman and Hall/CRC.
Mandal, Mamun, Robert Popek, Arkadiusz Przybysz, Anamika Roy, Sujit Das, and Abhijit Sarkar. 2023. Breathing Fresh Air in the City: Implementing Avenue Trees as a Sustainable Solution to Reduce Particulate Pollution in Urban Agglomerations. Plants 12, no. 7: 1545.
World Health Organization. 2021. WHO Global Air Quality Guidelines: Particulate Matter (PM2.5 and PM10), Ozone, Nitrogen Dioxide, Sulfur Dioxide and Carbon Monoxide. Geneva: World Health Organization.
World Health Organization. Air Quality, Energy and Health: Type of Pollutants https://www.who.int/teams/environment-climate-change-and-health/air-quality-and-health/health-impacts/types-of-pollutants (1609.06.2026)
Krittanawong C, Qadeer YK, Hayes RB, Wang Z, Thurston GD, Virani S, Lavie CJ. 2023. PM2.5 and cardiovascular diseases: State-of-the-Art review. International Journal of Cardiology Cardiovascular Risk and Prevention, Volume 19. Journal Article.
Zender-Świercz, E., B. Galiszewska, M. Telejko, and M. Starzomska. 2024. The Effect of Temperature and Humidity of Air on the Concentration of Particulate Matter—PM2.5 and PM10. Atmospheric Research 312: 107733.

## Slide 24: HeidelbergCement Plant in Kaspi
https://tbilisipost.ge/news/rodis-ashenda-kaspshi-ementis-qarkhana--istoria-da-ganvitareba/6322