## Slide 1
STM
Scanning Tunneling Microscope
Gabriel Gogishvili

## Slide 2
STM
Scanning Tunneling Microscope
Invented in 1981
Nobel Prize in 1986
Utilizing Quantum Tunneling
Magnification of ~108
Resolution of Individual Atoms

## Slide 3
STM
Working Principle
Conductive Surfaces
Ultra-Sharp Tip
Scanning Over the Surface
Measuring Tunneling Current

## Slide 4
STM
Working Principle

## Slide 5
STM
Working Principle

## Slide 6
STM
Working Principle

## Slide 7
Electronics
Preamplifier
16 Bit ADC
Microcontroller
Test Surface
Tip
4-Ch DAC
X
Y
Z
BIAS
Piezo-Driver
Z+X
Z+Y
Z-X
Z-Y

## Slide 8
Electronics
Preamplifier
16 Bit ADC
Microcontroller
Test Surface
Tip
4-Ch DAC
X
Y
Z
BIAS
Piezo-Driver
Z+X
Z+Y
Z-X
Z-Y
Actual Microscope
Strong Magnets
Suspension Springs

## Slide 9
Vibration Isolation
Actual Microscope
Strong Magnets
Suspension Springs

## Slide 10
Software
Notes: <number>

## Slide 11
Thank You!
Notes: <number>